# Biocompatibility Summary

Endpoints: Cytotoxicity, Sensitization, Irritation.

Results: All endpoints met acceptance criteria.

Conclusion: Biological risk acceptable for intended use.