# Software Requirements Specification

SWR01: The patch shall sample ECG at 250 samples per second with 12 bit resolution.

SWR02: The patch shall store at least 24 hours of ECG data locally.

SWR03: The mobile application shall encrypt all stored ECG data using AES 256.

SWR04: The system shall transmit data using TLS 1.2 or higher.

SWR05: The portal shall display ECG waveform with time synchronization.

SWR06: The system shall maintain an audit log of user actions.

SWR07: The system shall authenticate users with unique credentials.