# Biocompatibility Rationale – Non Sterile Skin Contact

Contact type: skin, greater than 24 hours and less than 30 days.

Endpoints: cytotoxicity, sensitization, irritation per ISO 10993-1.

Conclusion: materials suitable for intended use.